	Vendor
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	Alcatel
	###### ALARM ID                      769  ###### ALARM TYPE                        [22]  Optocoupler 7 ###### ALARM decription                        DOOR OPEN (4).  ###### SITE NAME                        D_TOUKH-TRAIN-01_BSS52(9_G_SK-SAHAFA_3825DE_SSS0): 9 EAS 0 ###### ClEARENCE DATE                      19/11/2013 16:03:33  ###### TIME DIFFRENCE                      19  ###### OMC TIME   Tue Nov 19 16:22:43 CAT 2013      Show you care; please don't print this e-mail unless it's really necessary.  


	
	Dear Sir,  
             Kindly be informed that a door alarm without notification was on:    
             FRIENDLY NAME:MAHATET ELRAML test    
             EVENT TIME:24/10/2013 17:21:33    
             CLEAR STATUS:Cleared (1)    
             USER NOTE:    

	Huawei
	          Dears, kindly check the below alarms.          Alarm Name:  Shelter Door Alarm          NE Name:  Zafarana          Location Information:  Cabinet No.=0, Subrack No.=0, Slot No.=18, Port No.=0, Board Type=UEIU, Site No.=21, Site Type=BTS3900 GSM, Site Name=00081_K_0031RE_SZ-SUKHNA          Occurrence Time:  2013/11/19 15:53:21 GMT02:00          Clearance Time:          Huawei 3G OMC      Show you care; please don't print this e-mail unless it's really necessary.  


	Nokia
	Criteria Name:  DOOR_ALARM  Sending Time:  2013-11-19 16:22:55  Maintenance Region: BSS  Name of the Object: 0231_G_SK-HAG-OMAR_3815DE  Alarm Class:  CANCEL  Alarm Number:  7402    ORIGINAL ERROR DESCRIPTION FROM THE ERROR HANDLER:    7402      C                                         BSS                                                   FAQUS                            PLMN-PLMN/BSC-359891/BCF-231                                                  FENCE GATE ALARM                                                              Started    -                        Cancelled     2013-11-19 16:22:25             


	ZTE
	alarm1(new alarm):  Dear everyone,  Kindly check the followed alarm information.  NE: ARISH-OUGA-1(0317SI)(20);  Alarm Code: Shelter Door Alarm(198092550);  Raised Time: 2013-11-19 12:27:45;  Alarm Type: Equipment Alarm;  Remark: Subcode description:Dry-Node No:0;      Show you care; please don't print this e-mail unless it's really necessary.  


	Motorola
	#7683  -  cleared  -  *NONE*.
             environmentFailureEvent  -  EAS  -  C_EL_FARZ11_BSS2(12_T_EINSHAMS-UNV_0290CA_S000): 12 EAS 0  -  27/10/2013  10:17:28.
             [22]  Optocoupler 7   -  FMIC  -  Clear 0/-.
             DOOR OPEN (4).

	
	Site Name:WTC8 01_S_I-KASTEN_1164CA
 Alarm Name:9027    BTS-EXTERNAL [9] Door-Window-Alarm-3 [27]
 Alarm Status:notCleared (0)
 Alarm Time:18/09/2011 19:17:42
 USER NOTE:
 Important Note: THIS E-MAIL IS GENERATED AUTOMATICALLY BY OMC-R, PLEASE DON'T REPLY TO THE SENDER
 Best Regards,
 Mobinil Supervision



