	Vendor
	Template

	Motorola
	###### ALARM ID
                    1675
###### ALARM TYPE
                      [16]  Optocoupler 1 ###### ALARM decription
                      AC POWER FAIL (0).
###### SITE NAME
                      D_SHIBIN-02_BSS13(20_S_MF-AMRA_3264DE_0G00): 20 EAS 0 ###### ALARM DATE
                     03/08/2014 08:51:14 ###### TIME DIFFRENCE
                    17
###### TIME LIMIT
                    15
###### OMC TIME   Sun Aug 3 09:08:05 CAT 2014


Show you care; please don't print this e-mail unless it's really necessary.

	Alcatel
	
 Dear Sir,
 Kindly check the following alarm:

 SEVERITY:critical (1)
 NUMBER:21143359
 FRIENDLY NAME:SAMALOUT_2 01_S_MN-DAKOUF_0341UP  EVENT TIME:04/08/2014 01:48:57
 SPECEFIC PROBLEM:9001    BTS-EXTERNAL [9] Rectifier-Failure-1  [1]

 CLEAR STATUS:notCleared (0)
 USER NOTE:

 Important Note: THIS E-MAIL IS GENERATED AUTOMATICALLY BY OMC-R, PLEASE DON'T REPLY TO THE SENDER

 Best Regards,
 Mobinil Supervision


Show you care; please don't print this e-mail unless it's really necessary.

	Huawie
	       Dears, kindly check the below alarms.
        Alarm Name:  Rectifier Minor Alarm
        NE Name:  MARINA
        Location Information:  Cabinet No.=0, Subrack No.=0, Slot No.=18, Port No.=5, Board Type=UEIU, Site No.=10, Site Type=BTS3900 GSM, Site Name=00544_C_0239AL_MM-MARINA6
        Occurrence Time:  2014/8/4 01:47:13 GMT+03:00
        Clearance Time:
        Huawei OMC


Show you care; please don't print this e-mail unless it's really necessary.

	NSN
	############NEW ALARM###########

ALARM NAME: 
		MAIN POWER CUT OFF
ALARM_START_TIME: 
		02-AUG-2014 23:46:00
NE_name: 
		AWAYED02
Alarm_Number
		7403
MR_of_Controled_NE: 
		Alex
MR_of_Site:
		NO
ALARM_SITE:
		0001_N_14TH-MAY_0130AL
ALARM_Device:
		site
CONSEC_NBR: 
		 109198683

THANKS FOR USING THIS TOOL

REGARGDS
D.S

	ZTE
	alarm1(new alarm):
Dear everyone,
Kindly check the followed alarm information.
NE: ME(WCDMA)(104);
Alarm Code: Association link broken(198066019);
Raised Time: 2014-08-03 07:49:37;
Clear Time:
Clear Type:
Alarm Type: Communications Alarm;
Remark: Association ID:1; Home module:127; Alarm reason:All paths are inactive.; User type:NBAP; Office ID:0


Show you care; please don't print this e-mail unless it's really necessary.




