| System | Problem Nature | Key Word |
| --- | --- | --- |
| A/Cs | Faulty System | A/C |
| A/Cs | Faulty System | A/Cs |
| A/Cs | Faulty System | AC |
| A/Cs | Faulty System | Acs |
| A/Cs | Faulty System | H.T |
| A/Cs | Faulty System | HT. |
| A/Cs | Faulty System | Hi Temp |
| A/Cs | Faulty System | HiTemp |
| A/Cs | Faulty System | HT |
| Batteries | Faulty System | backup |
| Batteries | Faulty System | bateries |
| Batteries | Faulty System | BATs |
| Batteries | Faulty System | batt |
| Generator | Faulty System | DG |
| Generator | Faulty System | G.N |
| Generator | Faulty System | Gen |
| Generator | Faulty System | generator |
| Generator | Faulty System | GN |
| Rectifier | Faulty System | PLVD |
| Rectifier | Faulty System | rect |

| System | Sub-Class | Criteria | Reference | System | Version |
| --- | --- | --- | --- | --- | --- |
| Batteries | Batteries | Item(s) stolen | A-6-55 | Batteries | V9R03 |
| Batteries | Batteries | Cables termination/lugs (AC side), lugs (DC side) | A-6-19 | Batteries | V9R03 |
| Batteries | Batteries | Components faulty | A-6-10 | Batteries | V9R03 |
| Batteries | Batteries | Some parts are missing | A-6-38 | Batteries | V9R03 |
| Rectifier | Rectifiers | Wrong connection | A-5-12 | Rectifier | V9R03 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Cables termination/lugs (AC side), lugs (DC side) | B-19 | A/Cs | V9R03 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Cables/Jumpers/Coaxial/FO/PCM protection (e.g. floating/[sharp edges in trays/ducts/conduits]) | B-15 | A/Cs | V9R03 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Components faulty | B-10 | A/Cs | V9R03 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Item(s) stolen | B-55 | A/Cs | V9R03 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Wrong connection | B-12 | A/Cs | V9R03 |
| Generator | ATS / Engine | Cables termination/lugs (AC side), lugs (DC side) | F-19 | Generator | V9R03 |
| Generator | ATS / Engine | Cables/Feeders/Jumpers/Coaxial/FO/PCM connection tightness | F-18 | Generator | V9R03 |
| Generator | ATS / Engine | Components below rate (excluding main power feeder if not hot) | F-11 | Generator | V9R03 |
| Generator | ATS / Engine | Components faulty | F-10 | Generator | V9R03 |
| Generator | ATS / Engine | Item(s) stolen | F-55 | Generator | V9R03 |
| Generator | ATS / Engine | Liquid penetration/leakage (e.g. rain, aggregated water, major diesel, major oil, etc…) | F-6 | Generator | V9R03 |
| Generator | ATS / Engine | Oil level & quality | F-89 | Generator | V9R03 |
| Generator | ATS / Engine | Wrong connection | F-12 | Generator | V9R03 |
| Batteries | Batteries | Item(s) stolen | A-7-41 | Batteries | V10R00 |
| Batteries | Batteries | Cables termination/lugs (AC side), lugs (DC side) | A-7-23 | Batteries | V10R00 |
| Batteries | Batteries | Components faulty | A-7-15 | Batteries | V10R00 |
| Batteries | Batteries | Some parts are missing | A-7-41 | Batteries | V10R00 |
| Rectifier | Rectifiers | Wrong connection | A-6-17 | Rectifier | V10R00 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Cables termination/lugs (AC side), lugs (DC side) | B-23 | A/Cs | V10R00 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Cables/Jumpers/Coaxial/FO/PCM protection (e.g. floating/[sharp edges in trays/ducts/conduits]) | B-21 | A/Cs | V10R00 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Components faulty | B-15 | A/Cs | V10R00 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Item(s) stolen | B-41 | A/Cs | V10R00 |
| A/Cs | A/Cs Cooling / Free Cooling / Ventilation | Wrong connection | B-17 | A/Cs | V10R00 |
| Generator | ATS / Engine | Cables termination/lugs (AC side), lugs (DC side) | F-23 | Generator | V10R00 |
| Generator | ATS / Engine | Cables/Feeders/Jumpers/Coaxial/FO/PCM connection tightness | F-22 | Generator | V10R00 |
| Generator | ATS / Engine | Components below rate (excluding main power feeder if not hot) | F-16 | Generator | V10R00 |
| Generator | ATS / Engine | Components faulty | F-15 | Generator | V10R00 |
| Generator | ATS / Engine | Item(s) stolen | F-15 | Generator | V10R00 |
| Generator | ATS / Engine | Liquid penetration/leakage (e.g. rain, aggregated water, major diesel, major oil, etc…) | F-10 | Generator | V10R00 |
| Generator | ATS / Engine | Oil level & quality | F-90 | Generator | V10R00 |
| Generator | ATS / Engine | Wrong connection | F-17 | Generator | V10R00 |