## Slide 1
Physical Quality Assurance Monthly Report
September 2019
Prepared By: Physical Quality Assurance Team
Technology – T.M.C.
Smart Village
The Egyptian Company for Mobile Services

## Slide 2
Main KPI.
Main Average KPI.
SQI trend.
Reserves Statistics.
Physical Quality Assurance Activities.
Audit Service (Servio).
Contents

## Slide 3
Main KPI
SQI
Average value is 54.71%
Target is 90%
Calculations are based on the first visit (before only)
SQI: Sites Quality Indicator

## Slide 4
Average SQI Details
Item | Average SQI KPI (Before)
General SQI | 54.71%
Huawei | 48.48%
OT | 75.31%
Systel | 0.00%
Cairo | 51.83%
Alex& North Coast | 75.31%
Delta Area | 60.68%
Red Sea Area | 42.55%
Sinai Area | 41.44%
Upper Area | 49.37%
SQI: Sites Quality Indicator

## Slide 5
Absolute SQI Details
Item | SQI based on 90% (Before)
General SQI | 2.58%
Huawei | 0.72%
OT | 8.93%
Systel | 0.00%
Cairo | 1.55%
Alex& North Coast | 8.93%
Delta Area | 4.21%
Red Sea Area | 0.00%
Sinai Area | 0.00%
Upper Area | 0.00%
SQI: Sites Quality Indicator

## Slide 6
Average SQI

## Slide 7
Reserves Statistics

## Slide 8
Activities Done By Quality Assurance Team

## Slide 9
Actions by Orange team
Number of visited sites/offices this month is 74 sites
Average visited sites/offices per engineer 15 sites.
3,885 Reserves Found
Orange Physical Quality Assurance Team

## Slide 10
Physical Assurance Penalties
Chart: Quality Assurance Penalties
| 43177 | 43208 | 43238 | 43269 | 43299 | 43330 | 43361 | 43391 | 43422 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43726
Series 1 | 210000 | 50000 | 1050375 | 70000 | 2347538 | 0 | 10000 | 170000 | 590000 | 0 | 10000 | 300000 | 0 | 77125 | 160000 | 410000 | 180000 | 146289
Note: Saving amount of 20,271 € deducted from Huawei to restore theft equipment.

## Slide 11
Activities Done by Contractors & Consultant

## Slide 12
Servio (Audited sites)

## Slide 13
Contractor response on audit
a) Response Received/Network
Total sites done during Sep. are 237
Received 7
Not received 230
Chart: 
| Files received | Files not received
Contractor Response | 0.029536 | 0.97046

## Slide 14
Contractor response on audit
b) Response Received/Contractor
 | Orascom | Huawei | AGLI
Received | 0 | 7 | 0
Not Received | 31 | 166 | 33
Total | 31 | 173 | 33
Chart: 
| Orascom | Huawei | AGLI
Received | 0 | 0.040462 | 0
Not Received | 1 | 0.95954 | 1

## Slide 15
Critical mails Response
Chart: Response Time
| within 3 days | After 3 days
Reception time | 0.6 | 0.4
60.0%
Chart: 
| Received | Not Received
Critical mails response | 0.046296 | 0.9537
Column1 | 5 | 103
103
Chart: No Response
| HUA | SYS | OT
No Response | 1 | 0 | 0
103
Chart: Response Received
| HUA | SYS | OT
Response received | 1 | 0 | 0
Column1 | 5 | 0 | 0
5

## Slide 16
Thank you